## Slide 1: Gas Chromatograph and Mass Spectrometer on a Chip (GC-MS Chip) Design Short Title: 24CARFS_GCMSonChip_Design PI: Patrick Roman, Florida International University Collaboration with IAB Members USSS Katylynn Sloan, DEA Richard Meyers, Alakai Defense Systems Henry Maynard Student participants: NA 13th Bi-Annual Industry Advisory Board (IAB) Meeting – Phase II, Meeting 2 August 6 - 8, 2024 The Bush School – Texas A&M University Washington, DC

## Slide 2: GC-MS on a CHIP - Progress to date
The GC-MS on a Chip project is a design investigation into the application of MEMS and silicon microfabrication technology for the advancement of miniaturized GC-MS instrumentation. The design of an ultra-miniature GC-MS chip core for a hand-held devices will be developed to assess the feasibility of GC-MS on a Chip for new, simple, robust, and low-cost portable GC-MS instruments
IAB collaborators - USSS Katylynn Sloan, DEA Richard Meyers, Alakai Defense Systems Henry Maynard

## Slide 3: GC-MS on a CHIP - Progress to date
GD ion source

## Slide 4: GC-MS on a CHIP - Progress to date
Arrayed silicon micro ion trap chip
  Micro arrayed ion trap lowers chip voltage while regaining sensitivity for the same operational mass range
  Implementing new asymmetric ion trap design in silicon for increased ion ejection efficiency (~2X)
Micro ion trap
array chip

## Slide 5: GC-MS on a CHIP - Progress to date
Channel electron multiplier – Ion detector
Anode
detector plate

## Slide 6: GC-MS on a CHIP - Progress to date
Equipment and materials acquisition
  SIMION charged particle optics software
  Dedicated simulation computer (4+ days per simulation run)
  3D printer and materials for concept prototype chip fabrication

## Slide 7: GCMS on a CHIP - Project adjustments
Project budget loaded
Schedule next meeting with IAB
Schedule adjustment post ordering
Revisions post IAB input

## Slide 8: GCMS on a CHIP - Challenges encountered
New lab and setup
Project administrative delays

## Slide 9: GC-MS on a CHIP - Technical issues
None to report

## Slide 10: GC-MS on a CHIP - Presentation/Publication
Project to be presented at the AAFS and annual GFJC symposium
Publication planned for ASMS journal

## Slide 11: GC-MS on a CHIP - Intellectual Property
Potential patent for high level integrated GCMS chip package

## Slide 12: GC-MS on a CHIP - Progress update 1
Questions?